Feb 13, 2017

We are at atmosphere so the pressure is balanced. Taking the top cover off so we can work inside the chamber.

We want to take measurements from the center source to the foil and from the center source to the shiny detector on the side.

Source must be orientated parallel to the foil if both are to be in simultaneously.

With the foil in position, the rod outside extends 3.15cm
With the second foil in position, the rod extends 0.86cm

Arrow on the outside shows the face of the sample. The arrow is flat and the sample is flat on the same plane.

3.266 kbc sep 1 06 226Ra

Measuring the deacy rate of the 210 Pb to the 226 Rn will give an approximate age of the sample.

You can find the total mass of the Rn 222 and the alpha should be the same as the 226 Rn. The important thing is how close we are to balance. The Rn 226 has a higher mass excess. The extra energy is released as kinetic energy. The total energy is conserved. The energies of the alphas will not line up. need to account for the energy from the q values.

We should expect to see four major peaks and two minor.

Using an oscilloscope, with no voltage were getting a bright line across the x-axis. The core of the baseline is now smaller. Suppressing some thermal fluctuations by applying the bias. We want to see the current stabilize before changing voltage.

Now seeing Poissonic curves in the oscilloscope. Those are the actual alpha detectors. Pointing the sample away from the detector makes them go away.

Shooting for a Vbias of 250.

Saturation looks like a plateau.
> disk 3702
data/dsk3702

Pre amp is on 10 and the amplifier is on effective 0 (actually 1370) gain. Which corresponds to a fine gain of about .5. Getting about 10x from amplifier and 10x from amplifier.
the little middle peak corresponds to Po 210 decay which will give the Pb 210 rate and will be used to find the age of the sample.
>save data
February 15, 2017

Gain is set back to previous 10 and 10.
tag 100: 2400 seconds facing the detector. No foil.
tag 101 of equal time with source facing away from the detector in order to get an estimation for the background.

Feb 27, 2017
fine gain is 3.3 and course is 100, total 8.3

tag 3000: 20 minutes run with no foil
tag 3001: 20 minutes with source away
tag 3002: 15 minutes no foil at angle of insertion
tag 3003: 17 minutes with vanadium
tag 3004: 10 minutes with aluminium

March 01
Lab manual gives Q values. Looking on NuDat for Alpha energies. (in keV)

ra226 = 4784.34 p/m 0.25 (93.84 p/m 0.11)
rn222 = 5489.48 p/m 0.3
po218 = 6002.35 p/m 0.9
po214 = 7686.82 p/m 0.7
po210 ~ 5.304.33 p/m 0.7

Tau ra226 = 1600 p/m 7 years
Tau pb 210 = 22.20 p/m 0.22 years

New detector has area of 450 mm^2

New detector is literally the same in terms of dimensions. 8.8cm (including housing depth)